## Summary
Stable Isotope Facility Data Report
Principal Investigator: | Sara Jackrel | Email: | sjackrel@ucsd.edu
Researcher | same | Email: | same
Institution: | University of California San Diego
Project: | JackrelLab_GHG_3
Submission Date: | 2022-02-25
Completion Date: | 2022-03-03
Report Date: | 2022-03-14
Analysis: | 13C of Carbon Dioxide (CO2) by GasBench-IRMS
Mean SD for sample material replicates in this project: |  | N/A
Mean SD for natural abundance reference material replicates in this project: |  | ±0.08 ‰
Mean absolute accuracy for calibrated reference materials within: |  | ±0.09 ‰
Notes: | 1 sample missing
Sample count to be charged: | 132
Additional charges:
Reported by: | Richard R. Doucett
rrdoucett@ucdavis.edu
Please review your data in a timely fashion, so that we may fully address any questions or concerns.

## Samples
Analysis # | Sample ID | δ13CVPDB (‰) | at-% 13C | CO2 (ppm) | Comments
ICECUBE-3535 | CO2-WK3-T1 | -18.7783 | 1.0851 | 1338.8766
ICECUBE-3536 | CO2-WK3-T2 | -12.2362 | 1.0922 | 418.7013
ICECUBE-3537 | CO2-WK3-T3 | -18.6641 | 1.0852 | 1147.6888
ICECUBE-3538 | CO2-WK3-T4 | -18.3277 | 1.0856 | 781.2811
ICECUBE-3539 | CO2-WK3-T5 | -20.4137 | 1.0833 | 1594.9363
ICECUBE-3540 | CO2-WK3-T6 | -6.7654 | 1.0982 | 301.6976
ICECUBE-3541 | CO2-WK3-T7 | -15.9578 | 1.0881 | 623.8004
ICECUBE-3542 | CO2-WK3-T8 | -14.8959 | 1.0893 | 725.5502
ICECUBE-3543 | CO2-WK3-T9 | -18.1101 | 1.0858 | 970.8122
ICECUBE-3544 | CO2-WK3-T10 | -5.3693 | 1.0997 | 270.39
ICECUBE-3546 | CO2-WK3-T11 | -17.2726 | 1.0867 | 636.1978
ICECUBE-3547 | CO2-WK3-T12 | -4.5434 | 1.1006 | 238.7111
ICECUBE-3548 | CO2-WK3-T13 | -18.502 | 1.0854 | 1054.0801
ICECUBE-3549 | CO2-WK3-T14 | -4.5367 | 1.1006 | 212.8309
ICECUBE-3550 | CO2-WK3-T15 | -20.522 | 1.0832 | 1129.6069
ICECUBE-3551 | CO2-WK3-T16 | -16.3192 | 1.0878 | 367.7407
ICECUBE-3552 | CO2-WK3-T17 | -13.7802 | 1.0905 | 484.8872
ICECUBE-3553 | CO2-WK3-T18 | -12.5468 | 1.0919 | 235.8545
ICECUBE-3554 | CO2-WK3-T19 | -8.4441 | 1.0964 | 304.897
ICECUBE-3555 | CO2-WK3-T20 | -9.7771 | 1.0949 | 339.7752
ICECUBE-3556 | CO2-WK3-T21 | -13.7996 | 1.0905 | 433.4981
ICECUBE-3561 | CO2-WK3-T22 | -16.2368 | 1.0878 | 714.9524
ICECUBE-3562 | CO2-WK3-T23 | -7.9416 | 1.0969 | 311.0671
ICECUBE-3563 | CO2-WK3-T24 | -15.3626 | 1.0888 | 599.6913
ICECUBE-3564 | CO2-WK3-T25 | -10.5878 | 1.094 | 397.2773
ICECUBE-3565 | CO2-WK3-T26 | -17.8995 | 1.086 | 1013.4602
ICECUBE-3566 | CO2-WK3-T27 | -9.9724 | 1.0947 | 420.3581
ICECUBE-3567 | CO2-WK3-T28 | -18.1003 | 1.0858 | 1041.8542
ICECUBE-3568 | CO2-WK3-T29 | -10.6968 | 1.0939 | 415.8733
ICECUBE-3569 | CO2-WK3-T30 | -19.579 | 1.0842 | 1967.1712
ICECUBE-3571 | P-AA-WK3-CO2-1 | -11.3539 | 1.0932 | 505.1971

## References
Reference Materials
Summary | δ13CVPDB (‰) Expected | δ13CVPDB (‰) Mean* | δ13CVPDB (‰) Standard Deviation* | Use
UCDC1 | -41.1 | -40.977 | 0.08122 | Drift Correction
UCDC2 | -41.8 | -41.637 | 0.0654 | Linearity correction
OZ-40 | -40.9 | -40.8808 | 0.054157 | Scale Normalization
OZ-10 | -10.44 | -10.5408 | 0.10178 | Scale Normalization
OZ-3 | -3.55 | -3.5184 | 0.032132 | Scale Normalization
UCDC3 | -36.8 | -36.8772 | 0.058943 | Quality Control
UCDC4 | -36.4 | -36.5062 | 0.16029 | Quality Control
UCDC5 | 8939 | 8933.1541 | 6.7446 | Scale Normalization
* Mean and standard deviation exclude references below limit of quantification (LOQ)
Reference | δ13CVPDB (‰) | CO2 (ppm) | Comments | Analysis
UCDC1 | -41.0493 | 2933.451 |  | ICECUBE-3380
UCDC1 | -41.1493 | 2931.7371 |  | ICECUBE-3393
UCDC1 | -40.9342 | 2965.7584 |  | ICECUBE-3404
UCDC1 | -40.8007 | 2961.4165 |  | ICECUBE-3415
UCDC1 | -41.0234 | 2931.7371 |  | ICECUBE-3429
UCDC1 | -41.0767 | 2936.2504 |  | ICECUBE-3440
UCDC1 | -40.9518 | 2914.9692 |  | ICECUBE-3454
UCDC1 | -40.93 | 2908.1421 |  | ICECUBE-3465
UCDC1 | -40.8663 | 2873.2924 |  | ICECUBE-3479
UCDC1 | -41.0127 | 2850.0688 |  | ICECUBE-3495
UCDC1 | -41.0004 | 2890.4602 |  | ICECUBE-3506
UCDC1 | -40.9451 | 2897.9729 |  | ICECUBE-3520
UCDC1 | -40.9518 | 2907.3423 |  | ICECUBE-3531
UCDC1 | -40.9667 | 2912.4555 |  | ICECUBE-3545
UCDC1 | -40.9958 | 2907.1995 |  | ICECUBE-3557
UCDC1 | -40.9781 | 2934.1937 |  | ICECUBE-3572
UCDC1 Average | -40.977
UCDC1 StdDev | 0.08122
UCDC2 | -41.7235 | 9914.106 |  | ICECUBE-3480
UCDC2 | -41.6267 | 9889.3113 |  | ICECUBE-3481
UCDC2 | -41.556 | 8328.6725 |  | ICECUBE-3482
UCDC2 | -41.5995 | 8109.7192 |  | ICECUBE-3483
UCDC2 | -41.5731 | 4971.788 |  | ICECUBE-3484
UCDC2 | -41.6445 | 4791.0265 |  | ICECUBE-3485
UCDC2 | -41.6531 | 2378.0837 |  | ICECUBE-3486
UCDC2 | -41.6514 | 2368.7714 |  | ICECUBE-3487
UCDC2 | -41.6827 | 949.4739 |  | ICECUBE-3488
UCDC2 | -41.7427 | 950.4451 |  | ICECUBE-3489
UCDC2 | -41.6545 | 470.6045 |  | ICECUBE-3490
UCDC2 | -41.7133 | 470.8902 |  | ICECUBE-3491
UCDC2 | -41.537 | 316.3231 |  | ICECUBE-3492
UCDC2 | -41.5593 | 318.2084 |  | ICECUBE-3493
UCDC2 Average | -41.637
UCDC2 StdDev | 0.0654
OZ-40 | -40.8362 | 2208.9769 |  | ICECUBE-3387
OZ-40 | -40.9411 | 2316.6682 |  | ICECUBE-3388
OZ-40 | -40.8651 | 2216.1468 |  | ICECUBE-3390
OZ-40 Average | -40.8808
OZ-40 StdDev | 0.054157
OZ-10 | -10.6528 | 2303.4996 |  | ICECUBE-3385
OZ-10 | -10.454 | 2273.0489 |  | ICECUBE-3386
OZ-10 | -10.5156 | 2278.6763 |  | ICECUBE-3389
OZ-10 Average | -10.5408
OZ-10 StdDev | 0.10178
OZ-3 | -3.5091 | 2288.9884 |  | ICECUBE-3384
OZ-3 | -3.5542 | 2393.966 |  | ICECUBE-3391
OZ-3 | -3.492 | 2248.7398 |  | ICECUBE-3392
OZ-3 Average | -3.5184
OZ-3 StdDev | 0.032132
UCDC3 | -37.0062 | 10165.5096 |  | ICECUBE-3381
UCDC3 | -36.8042 | 10009.7142 |  | ICECUBE-3416
UCDC3 | -36.8746 | 10000.9161 |  | ICECUBE-3441
UCDC3 | -36.8554 | 9900.8232 |  | ICECUBE-3466
UCDC3 | -36.901 | 9765.1092 |  | ICECUBE-3507
UCDC3 | -36.8636 | 9957.6396 |  | ICECUBE-3532
UCDC3 | -36.8667 | 9997.1455 |  | ICECUBE-3558
UCDC3 | -36.8455 | 10189.5331 |  | ICECUBE-3584
UCDC3 Average | -36.8772
UCDC3 StdDev | 0.058943
UCDC4 | -36.6357 | 385.7654 |  | ICECUBE-3382
UCDC4 | -36.5541 | 402.8189 |  | ICECUBE-3417
UCDC4 | -36.7006 | 401.5906 |  | ICECUBE-3442
UCDC4 | -36.5965 | 401.6763 |  | ICECUBE-3467
UCDC4 | -36.4571 | 397.9343 |  | ICECUBE-3508
UCDC4 | -36.274 | 404.1901 |  | ICECUBE-3533
UCDC4 | -36.325 | 407.875 |  | ICECUBE-3559
UCDC4 Average | -36.5062
UCDC4 StdDev | 0.16029
UCDC5 | 8939.8841 | 1244.8966 |  | ICECUBE-3599
UCDC5 | 8936.3753 | 1213.5033 |  | ICECUBE-3600
UCDC5 | 8939.951 | 1209.1614 |  | ICECUBE-3601
UCDC5 | 8932.1458 | 1287.3161 |  | ICECUBE-3602
UCDC5 | 8924.6974 | 1262.5214 |  | ICECUBE-3603
UCDC5 | 8925.8708 | 1185.5664 |  | ICECUBE-3604
UCDC5 Average | 8933.1541
UCDC5 StdDev | 6.7446
Lab air | -10.0045 | 423.5574 |  | ICECUBE-3383
Lab air | -9.9576 | 438.3828 |  | ICECUBE-3418
Lab air | -10.1008 | 434.0123 |  | ICECUBE-3443
Lab air | -10.0002 | 438.4114 |  | ICECUBE-3468
Lab air | -9.8899 | 429.5847 |  | ICECUBE-3509
Lab air | -9.7512 | 437.383 |  | ICECUBE-3534
Lab air Average | -9.9507
Lab air StdDev | 0.1195

## SIF Sample List
UC Davis Stable Isotope Facility
Sample Submission Form
Last Name: | Jackrel | [8 empty] | LIMS for Light Stable Isotopes
First Name: | Sara | [8 empty] | Version 8.1
|  |  | THE UCD SIF DOES NOT ACCEPT GAS SAMPLES WITH EXPECTED ENRICHMENTS OVER 40 ATOM PERCENT WITHOUT PRIOR APPROVAL | [5 empty] | (SIF Internal Use Only)
PLEASE ARRANGE VIALS IN ORDER BY INCREASING ENRICHMENT, AND AFTER ANY UNENRICHED SAMPLES
Counter | Sample ID | Gas concentration (e.g. ppm) | Vial pressure | Source of Gas | Analysis | Enriched? | Estimated Enrichment | Sample treatment (e.g. Acetylene, ZnCl2) | Comment
Example 1 | DS 0806 T1 | 500ppm | ~1 atm | ombrotrophic bog | 13C-CH4 | No | -- | none
Example 2 | Del 080415 B29 | N2: 3200ppm, N2O: 20ppm | ~1 atm | estuarine sediment | 15N-N2+N2O | Yes | 10 at-% | 1mL 50%w/v ZnCl2
101 | CO2-WK3-T1 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
102 | CO2-WK3-T2 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
103 | CO2-WK3-T3 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
104 | CO2-WK3-T4 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
105 | CO2-WK3-T5 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
106 | CO2-WK3-T6 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
107 | CO2-WK3-T7 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
108 | CO2-WK3-T8 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
109 | CO2-WK3-T9 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
110 | CO2-WK3-T10 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
111 | CO2-WK3-T11 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
112 | CO2-WK3-T12 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
113 | CO2-WK3-T13 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
114 | CO2-WK3-T14 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
115 | CO2-WK3-T15 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
116 | CO2-WK3-T16 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
117 | CO2-WK3-T17 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
118 | CO2-WK3-T18 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
119 | CO2-WK3-T19 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
120 | CO2-WK3-T20 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
121 | CO2-WK3-T21 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
122 | CO2-WK3-T22 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
123 | CO2-WK3-T23 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
124 | CO2-WK3-T24 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
125 | CO2-WK3-T25 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
126 | CO2-WK3-T26 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
127 | CO2-WK3-T27 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
128 | CO2-WK3-T28 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
129 | CO2-WK3-T29 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
130 | CO2-WK3-T30 |  | ~1 atm | Freshwater mesocosms | 13C-CO2 and dissolved gas concentration | No
133 | P-AA-WK3-CO2-1 |  | ~1 atm | Freshwater mesocosms - Ambient air | 13C-CO2 and dissolved gas concentration | No